SPECIAL DOORS



SECTION 08 38 00





PART 1 - GENERAL

1.1
RELATED DOCUMENTS


A.
Drawing and general provisions of the Contract, including General and 

Supplementary Conditions and Division 1 Specification Sections, apply to this 

Section.

1.2
SUMMARY


A.
This section includes traffic doors and frames

1.3
SUBMITTALS


A.
Product Data:  For each type of door and frame indicated.  Include construction 

details relative to materials, individual components and profiles, finishes and fire

ratings (if required) for access doors and frames.


B.
Shop Drawings:  Show fabrication and installation details of traffic doors and 

frames.  Include plans, elevations, sections, details and attachments to other 

Work.

PART 2 - PRODUCTS

2.1
ACCEPTABLE MANUFACTURERS/PRODUCTS


A.   
Traffic Door Manufacturer:  Subject to compliance with requirements, provide 

      
 products of the following:

             National Access Design, LLC.
             1924 Losantiville Ave.

             Cincinnati, OH. 45237

             1-513-351-3400

             www.nationalaccessdesign.com
2.2
TRAFFIC DOORS AND FRAMES


A.
Flexible Traffic Doors



1.
Model 2000 Flexible Double Acting Doors
08 38 00 

2.   
Doors shall be constructed of clear PVC, .120 vinyl material with a 

reinforced header made of reinforced vinyl or clear hinge pocket.
3.
Doors shall utilize a self closing bracket, top mounted only, gravity operated hinging system with stainless base and stainless-steel arm.

4.
Bi-parting panels shall have a 3” overlap

5.
Doors come with 3” high weight plates
2.3
FABRICATION

A.
General:  Provide traffic door assemblies manufactured as integral units ready

 for installation.


B.
Material surfaces:  For surfaces exposed to view in the completed work area,
provide materials with smooth, flat surfaces without blemishes.
PART 3 - EXECUTION


A.
Install special doors complete with necessary hardware and accessories in 

    accordance with final shop drawings, manufacturer's instructions and 



specified herein. 


B.
All assemblies must be installed plumb, level and properly aligned.


C.
Upon completion of installation, lubricate, test and adjust doors to operate



easily, free from warp, twist or distortion.


D.
Coordinate installation of bollards and/or wall stops with architectural drawings.

- END OF SECTION 08 38 00
